## Slide 1
Install the Visual Studio 2017 Community (VS 2017)
Open UltraSound_Image_Compress.sln file with VS 2017
Run “Form1.cs”
You can see below form

## Slide 2
If you compress “Envelope” data for “Cyst” with LUT method, click this

## Slide 3
Then you can see this dialog box to select scanline data file
From dialog box, you select cyst folder and then select Envelope folder

## Slide 4
At first, You HAVE TO select Envelope_bin1.txt
Once you select this file, Other scanline (2~128) files are automatically handled by our demo program
If you do not select Envelope_bin1.txt then program issues error
.._TOTAL.txt, _Decode.txt, _Encode.txt, _STAT.txt files are temporarily produced files by program

## Slide 5
After select file, then program start compressing ultrasound data
Then automatically _TOTAL, _Decode, _Encode, _STAT.txt files for each scanline files

## Slide 6
Here is result files
…_TOTAL.txt : shows
Compression ratio(%) for scanline 1
BL code / Exp-Golomb
Encoding time (ticks) for scanline 1
BL code / Exp-Golomb
Decoding time (ticks) for scanline 1
BL code / Exp-Golomb

## Slide 7
Here is result files
…_Decode.txt : shows original batches’ encoding, decoding test result for BL code and Exp-Golomb code

## Slide 8
…_Encode.txt : shows BL code encoding result for each batch

## Slide 9
…_STAT.txt : shows Compression ratio percentage for BL code and Exp-Golomb code on every batch

## Slide 10
Like explained above,
# Each button for data set type and algorithm implementation(LUT or Formular)
# Samples are selected by Folder’s name
(Cyst, Point-Target, Invio, Invivo-2, but in this github we only upload Cyst and Point-Target for personal healthcare record protection
LUT : look up table implementation
Implementation by formula

## Slide 11
On thing are cautious – IQ data,
Our program uses same logic for I and Q data
So, for testing I data, you click IQ_RF_Compression_LOOKUP or IQ_RF_compression
Then you must
select “I_bin1.txt” not “Q_bin1.txt in IQ folder”

## Slide 12
On the other hand, if you want to test Q data,
Then you must
select “Q_bin1.txt” not “I_bin1.txt at IQ folder”

## Slide 13
UltraSound data (cyst, point target) folder
# APPENDIX : data folder information